| CALIBRATION LOG |  |  |  | PAGE | 1 | OF | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EQUIPMENT DESCRIPTION | SERIAL NO. | DATE CALIBRATED | NEXT DUE DATE | COMMENTS |  |  |  |
| Olymus UT Thickness Gauge | 110842801 | 4-28-2020 | Indefinite | QC Manual 12.2.5 |  |  |  |
| Olympus UT Thickness Gauge | 200845208 | 8-24-2020 | Indefinite | QC Manual 12.2.5 |  |  |  |
| 5-Step Test Block – 304 SS | 5362 19 | 1-10-2020 | Indefinite | QC Manual 12.2.5 |  |  |  |
| 5-Step Test Block – 1018 CS | 5029 19 | 1-10-2020 | Indefinite | QC Manual 12.2.5 |  |  |  |
| Digital 1 (0-10,000 PSI) | 204130031 | 12-23-2025 | 12-23-2026 | In Tolerance |  |  |  |
| Digital 2 (0-10,000 PSI) | 204130032 | 9-23-2025 | 9-23-2026 | In Tolerance |  |  |  |
| Analog 1 (0-15 PSI) | 1 | 9-23-2025 | 9-23-2026 | In Tolerance |  |  |  |
| Analog 2 (0-15 PSI) | 2 | 9-23-2025 | 9-23-2026 | In Tolerance |  |  |  |
| Analog 3 (0-15 PSI) | 3 | 12-23-2025 | 12-23-2026 | In Tolerance |  |  |  |
| Analog 4 (0-15 PSI) | 4 | 1-14-2025 | 1-14-2026 | In Tolerance |  |  |  |
| Test 13 (0-300 PSI) | Test-13 | 3-5-2026 | 3-5-2027 | In Tolerance |  |  |  |